|  |  | Mumps VIRAL Specimen Collection |
| --- | --- | --- |
| Specimen Type | PCR TESTING ** Mumps Specimens ** |  |
| Materials | - Viral transport media (VTM) and tubes - Specimen submission forms (G2V) - Personal protective equipment - Tongue depressors - Polyester fiber tipped swabs - either Dacron or Rayon - NO cotton tipped or wooden shaft swabs or any that contain calcium alginate |  |
| Proper Specimen Collection | - Do not use expired media – be sure to check the expiration date - Cheek (buccal) swabs are the preferred specimens for DSHS testing - Massage the outside of the patient’s parotid gland for 30 seconds - Swab the area around Stensen’s duct - Put tip of swab in the VTM, breaking applicator stick if necessary - Seal properly - Freeze at -70°C or refrigerate at 4°C - Prepare for shipment |  |
| Specimen Handling | - Transport specimens to the laboratory as soon as possible - Specimens should be placed in a biohazard bag and stored at 4°C or -70°C - If specimens are shipped the same day of collection, ship at 4°C - If specimens will be stored and shipped after the date of collection, freeze at -70° C - DO NOT store samples in a standard freezer – this inactivates the virus - DO NOT have repeated freeze thaw cycles – this inactivates the virus |  |
| Specimen Shipping | - Do not ship on Fridays or before government holidays - Specimens stored at 4°C are shipped using cold packs - Specimens stored at -70° C are shipped on dry ice - Complete the G2V form for each specimen - Check “Mumps PCR” in Section 4 of the G2V - The name on the tube should match the name on the form exactly - Ship to the physical address ATTN: Lab Services - Record the shipping tracking number and notify EAIDB that a specimen is being shipped |  |
| Additional Information | - Collect as soon as possible after parotitis onset - Preferably within three days - Not more than ten days after onset Centers for Disease Control and Prevention– Mumps PCR http://www.cdc.gov/mumps/lab/index.html |  |

|  |  | Mumps SERUM Specimen Collection |
| --- | --- | --- |
| Specimen Type | IgM and IgG Antibody Testing ** Mumps Specimens ** |  |
| Materials | - Red top tubes and serum transport tubes OR gold top OR tiger top tubes - Specimen Submission forms (G2A) - Personal Protective Equipment - Centrifuge |  |
| Proper Specimen Collection | - Do not use expired tubes – be sure to check the expiration date - RED TOP TUBE - Collect at least 5mL of blood in red top tube - Centrifuge the red top tube - Transfer the serum into a serum transport tube - GOLD TOP/TIGER TOP TUBE - Collect at least 5mL of blood in gold/tiger top tube - Centrifuge the gold/tiger top tube - Seal properly - Refrigerate serum transport tubes, gold top, or tiger top tubes - Prepare for shipment |  |
| Specimen Handling | - Transport specimens to the laboratory as soon as possible - Specimens should be placed in a biohazard bag and stored at 4°C or -20°C - If specimens are shipped the same day of collection, ship at 4°C - If specimens will be stored and shipped after the date of collection, freeze at -20° C (must be in serum transport tubes to be frozen) - Do not freeze serum in gold top, tiger top or serum separator tube for shipping |  |
| Specimen Shipping | - Do not ship on Fridays or before government holidays - Do not ship whole blood - Specimens that will arrive at the lab within 48 hours of collection can be stored at 4°C and should be shipped using cold packs - Specimens that will arrive at the lab more than 48 hours after collection should be stored at -20° C and shipped on dry ice - Complete the G2A form for each specimen - Check “Mumps IgG” and “Mumps IgM” in Section 7 of the G2A - Be sure to record the time/date the specimen was removed from the freezer/refrigerator - The name on the tube should match the name on the form exactly - Ship to the physical address ATTN: Lab Services - Record the shipping tracking number and notify EAIDB that a specimen is being shipped |  |
| Additional Information | - Collect as soon as possible after parotitis onset, up to 30 days - Patients with an MMR vaccine in the past 6-45 days are not recommended for serologic testing. Centers for Disease Control and Prevention– Mumps serology http://www.cdc.gov/mumps/lab/overview-serology.html |  |