Figure: 25 TAC §289.256(xxx)

	Rule Cross Reference
	Name of Records/Documents
	Time Interval for Keeping Records/Documents

	§289.201(d)(1)
	Records of receipt and transfer of radioactive material
	Until disposal of the records is authorized by the department

	§289.201(d)(1)
	Records of disposal of radioactive material
	Until termination of the radioactive material license

	§289.203(b)(1)(B)
	Current applicable sections of this
chapter as listed in the radioactive material license
	Until termination of the radioactive material license

	§289.203(b)(1)(B)
	Copy of the current radioactive material license
	Until termination of the radioactive material license

	§289.203(b)(1)(C),
§289.256(f)(3)(A)
	Current operating, safety, and emergency procedures
	Until termination of the radioactive material license

	§289.256 (f)(3)(C)(i)
	Qualifications of RSO
	Duration of employment

	§289.256(f)(3)(C)(ii)
	Qualifications of authorized users
	Duration of employment

	§289.256(f)(3)(C)(iii)
	Qualifications of authorized medical physicist
	Duration of employment

	§289.256(f)(3)(C)(iv)
	Qualifications of authorized nuclear pharmacist, if applicable
	Duration of employment

	§289.256(g)(7)
	Qualifications and dates of service for temporary RSO
	3 years

	§289.256(g)(9)(A)
	Actions taken by the licensee’s management
	5 years

	§289.256(g)(9)(B)
	Authority, duties, and responsibilities of the RSO and the RSO’s agreement to implement the radiation safety program
	Until termination of the radioactive material license

	§289.256(g)(9)(C)
	Document appointing the ARSO
	5 years after the ARSO is removed from the license

	§289.256(i)(3)
	RSC meetings
	3 years

	§289.256(t)(3)
	Written directives
	3 years

	§289.256(t)(5)(C)
	Procedures for administrations requiring a written directive
	Until termination of the radioactive material license

	§289.256(v)(4)
	Calibration of instruments (dose calibrators)
	3 years

	§289.256(w)(5)
	Calibration of survey instruments
	3 years

	§289.256(x)(6)
	Dosage determinations of unsealed radioactive material for medical use
	3 years

	§289.256(z)(2)
	Physical inventory for all sealed source/brachytherapy inventory
	3 years

	§289.256(bb)(3)
	Surveys for ambient radiation exposure rate
	3 years






	Rule Cross Reference
	Name of Records/Documents
	Time Interval for Keeping Records/Documents

	§289.256(cc)(3)
§289.256(eee)(2)
	Patient release
	3 years after date of release

	§289.256(dd)(3)
	Mobile nuclear medicine service client letters
	Duration of licensee/client relationship

	§289.256(dd)(3)
	Mobile nuclear medicine service surveys
	3 years

	§289.256(ee)(2)
	Decay in storage/disposal
	3 years

	§289.256(ii)(4)
	Permissible Molybdenum-99, Strontium-82, and Strontium-85 concentrations
	3 years

	§289.256(ll)(2)
	Safety instructions – unsealed radioactive materials
	3 years

	§289.256(ss)(3)
	Surveys after sealed source implant and removal
	3 years

	§289.256(tt)(3)
	Brachytherapy sealed sources accountability
	3 years

	§289.256(uu)(2)
	Safety instruction to personnel
	3 years

	§289.256(ww)(4)
	Calibration measurements of brachytherapy sealed sources
	3 years

	§289.256(xx)(3)
	Activity of each Strontium 90 source
	Duration of life of source

	§289.256(bbb)(4)
	Service provider documentation
	3 years

	§289.256(fff)(4)
	Installation, maintenance, adjustment, and repair - remote afterloader units, teletherapy units, and gamma stereotactic radiosurgery units
	3 years

	§289.256(ggg)(6)
	Written safety and operating procedures
	Until licensee no longer possesses unit

	§289.256(ggg)(7)
	Instruction/drills for remote afterloader units, teletherapy units, and gamma
stereotactic radiosurgery units
	3 years

	§289.256(iii)(3)
	Dosimetry equipment calibration, intercomparison, and comparison
	Until termination of the radioactive material license

	§289.256(jjj)(7)
	Calibration – teletherapy units
	3 years

	§289.256(kkk)(9)
	Calibration – remote afterloader units
	3 years



	Rule Cross Reference
	Name of Records/Documents
	Time Interval for Keeping Records/Documents

	§289.256(lll)(7)
	Calibration – gamma stereotactic radiosurgery units
	3 years

	§289.256(mmm)(2)
	Written procedures for spot checks
- teletherapy units
	Until licensee no longer
possesses unit

	§289.256(mmm)(6)
	Spot checks - teletherapy units
	Until licensee no longer possesses unit

	§289.256(nnn)(2)
	Written procedures for spot checks
- remote afterloaders
	3 years

	§289.256(nnn)(6)
	Spot checks - remote afterloader
	3 years

	§289.256(ooo)(2)
	Written procedures for spot checks
- gamma stereotactic radiosurgery units
	3 years

	§289.256(ooo)(8)
	Spot checks - gamma stereotactic radiosurgery units
	3 years

	§289.256(ppp)(5)
	Technical requirements for mobile remote afterloader units
	3 years

	§289.256(qqq)(3)
	Radiation surveys
	Duration of the use of the unit

	§289.256(rrr)(3)
	Full-inspection servicing records for teletherapy and gamma stereotactic radiosurgery units
	Duration of the use of the unit

	§289.256(uuu)(9)
	Annotated report – medical event
	Until termination of the radioactive material license

	§289.256(vvv)(8)
	Annotated report – dose to embryo/fetus or nursing child
	Until termination of the radioactive material license




  Figure:   25   TAC   §289.256(xxx)    

Rule   Cross   Reference  Name   of   Records/Documents  Time   Interval   for   Keeping  Records/Documents  

§289.201(d)(1)  Records   of   receipt   and   transfer of radioactive  material  Until disposal of the  records   is   authorized   by   the  department  

§289.201(d)(1)  Records   of   disposal   of   radioactive  material  Until termination of the  radioactive   material   license  

§289.203(b)(1)(B)  Current applicable   sections   of   this   chapter   as   listed   in   the   radioactive material license  Until termination of the  radioactive   material   license  

§289.203(b)(1)(B)  Copy   of   the   current   radioactive  material license  Until termination of the  radioactive   material   license  

§289.203(b)(1)(C),   §289.256(f)(3)(A)  Current   operating,   safety,   and  emergency procedures  Until termination of the  radioactive   material   license  

§289.256   (f)(3)(C)(i)  Qualifications   of   RSO  Duration   of   employment  

§289.256(f)(3)(C)(ii)  Qualifications   of   authorized   users  Duration   of   employment  

§289.256(f)(3)(C)(iii)  Qualifications   of   authorized  medical  physicist  Duration   of   employment  

§289.256(f)(3)(C)(iv)  Qualifications   of   authorized   nuclear  pharmacist, if  applicable  Duration   of   employment  

§289.256(g)(7)  Qualifications   and   dates   of   service for temporary RSO  3  years  

§289.256(g)(9)(A)  Actions   taken   by   the   licensee’s  management  5  years  

§289.256(g)(9)(B)  Authority, duties, and  responsibilities   of   the   RSO   and the RSO’s agreement  to implement   the   radiation   safety  program  Until termination of the  radioactive   material   license  

§289.256(g)(9)(C)  Document   appointing the   ARSO  5   years   after   the   ARSO   is removed   from   the   license  

§289.256(i)(3)  RSC   meetings  3  years  

§289.256(t)(3)  Written   directives  3  years  

§289.256(t)(5)(C)  Procedures   for   administrations  requiring a written directive  Until termination of the  radioactive   material   license  

