Figure: 25 TAC §289.256(xxx)

| Rule Cross Reference | Name of Records/Documents | Time Interval for Keeping Records/Documents |
| --- | --- | --- |
| §289.201(d)(1) | Records of receipt and transfer of radioactive material | Until disposal of the records is authorized by the department |
| §289.201(d)(1) | Records of disposal of radioactive material | Until termination of the radioactive material license |
| §289.203(b)(1)(B) | Current applicable sections of this chapter as listed in the radioactive material license | Until termination of the radioactive material license |
| §289.203(b)(1)(B) | Copy of the current radioactive material license | Until termination of the radioactive material license |
| §289.203(b)(1)(C), §289.256(f)(3)(A) | Current operating, safety, and emergency procedures | Until termination of the radioactive material license |
| §289.256 (f)(3)(C)(i) | Qualifications of RSO | Duration of employment |
| §289.256(f)(3)(C)(ii) | Qualifications of authorized users | Duration of employment |
| §289.256(f)(3)(C)(iii) | Qualifications of authorized medical physicist | Duration of employment |
| §289.256(f)(3)(C)(iv) | Qualifications of authorized nuclear pharmacist, if applicable | Duration of employment |
| §289.256(g)(7) | Qualifications and dates of service for temporary RSO | 3 years |
| §289.256(g)(9)(A) | Actions taken by the licensee’s management | 5 years |
| §289.256(g)(9)(B) | Authority, duties, and responsibilities of the RSO and the RSO’s agreement to implement the radiation safety program | Until termination of the radioactive material license |
| §289.256(g)(9)(C) | Document appointing the ARSO | 5 years after the ARSO is removed from the license |
| §289.256(i)(3) | RSC meetings | 3 years |
| §289.256(t)(3) | Written directives | 3 years |
| §289.256(t)(5)(C) | Procedures for administrations requiring a written directive | Until termination of the radioactive material license |
| §289.256(v)(4) | Calibration of instruments (dose calibrators) | 3 years |
| §289.256(w)(5) | Calibration of survey instruments | 3 years |
| §289.256(x)(6) | Dosage determinations of unsealed radioactive material for medical use | 3 years |
| §289.256(z)(2) | Physical inventory for all sealed source/brachytherapy inventory | 3 years |
| §289.256(bb)(3) | Surveys for ambient radiation exposure rate | 3 years |

| Rule Cross Reference | Name of Records/Documents | Time Interval for Keeping Records/Documents |
| --- | --- | --- |
| §289.256(cc)(3) §289.256(eee)(2) | Patient release | 3 years after date of release |
| §289.256(dd)(3) | Mobile nuclear medicine service client letters | Duration of licensee/client relationship |
| §289.256(dd)(3) | Mobile nuclear medicine service surveys | 3 years |
| §289.256(ee)(2) | Decay in storage/disposal | 3 years |
| §289.256(ii)(4) | Permissible Molybdenum-99, Strontium-82, and Strontium-85 concentrations | 3 years |
| §289.256(ll)(2) | Safety instructions – unsealed radioactive materials | 3 years |
| §289.256(ss)(3) | Surveys after sealed source implant and removal | 3 years |
| §289.256(tt)(3) | Brachytherapy sealed sources accountability | 3 years |
| §289.256(uu)(2) | Safety instruction to personnel | 3 years |
| §289.256(ww)(4) | Calibration measurements of brachytherapy sealed sources | 3 years |
| §289.256(xx)(3) | Activity of each Strontium 90 source | Duration of life of source |
| §289.256(bbb)(4) | Service provider documentation | 3 years |
| §289.256(fff)(4) | Installation, maintenance, adjustment, and repair - remote afterloader units, teletherapy units, and gamma stereotactic radiosurgery units | 3 years |
| §289.256(ggg)(6) | Written safety and operating procedures | Until licensee no longer possesses unit |
| §289.256(ggg)(7) | Instruction/drills for remote afterloader units, teletherapy units, and gamma stereotactic radiosurgery units | 3 years |
| §289.256(iii)(3) | Dosimetry equipment calibration, intercomparison, and comparison | Until termination of the radioactive material license |
| §289.256(jjj)(7) | Calibration – teletherapy units | 3 years |
| §289.256(kkk)(9) | Calibration – remote afterloader units | 3 years |

| Rule Cross Reference | Name of Records/Documents | Time Interval for Keeping Records/Documents |
| --- | --- | --- |
| §289.256(lll)(7) | Calibration – gamma stereotactic radiosurgery units | 3 years |
| §289.256(mmm)(2) | Written procedures for spot checks - teletherapy units | Until licensee no longer possesses unit |
| §289.256(mmm)(6) | Spot checks - teletherapy units | Until licensee no longer possesses unit |
| §289.256(nnn)(2) | Written procedures for spot checks - remote afterloaders | 3 years |
| §289.256(nnn)(6) | Spot checks - remote afterloader | 3 years |
| §289.256(ooo)(2) | Written procedures for spot checks - gamma stereotactic radiosurgery units | 3 years |
| §289.256(ooo)(8) | Spot checks - gamma stereotactic radiosurgery units | 3 years |
| §289.256(ppp)(5) | Technical requirements for mobile remote afterloader units | 3 years |
| §289.256(qqq)(3) | Radiation surveys | Duration of the use of the unit |
| §289.256(rrr)(3) | Full-inspection servicing records for teletherapy and gamma stereotactic radiosurgery units | Duration of the use of the unit |
| §289.256(uuu)(9) | Annotated report – medical event | Until termination of the radioactive material license |
| §289.256(vvv)(8) | Annotated report – dose to embryo/fetus or nursing child | Until termination of the radioactive material license |